PHY 243 – Chapter 4 Homework Problems

- Calculate the fraction of total energy that can be transferred to an orbital electron (0.00055 amu) for the following (mostly theoretical) particle masses: 0.00005 amu, 0.0001 amu, 0.00025 amu, 0.00055 amu, 0.01 amu, 0.05 amu, 0.1 amu, 1 amu, 4 amu, 10 amu, 20 amu. Plot the results on a log-log plot.

- Calculate the range of a 6.3 MeV alpha particle in:

  - Air (density 0.001293 g/cm3, atomic mass number ~14.8)

  - plastic (density 1.13 g/cm3, atomic mass number ~11.81)

  - mylar (density 1.4 g/cm3, atomic mass number ~12.88)

  - human tissue (density 1.04 g/cm3, atomic mass number ~13.6)

- Calculate the range of monoenergetic electrons in air (density 0.001293 g/cm3) and soft tissue (density 1.04 g/cm3) of the following energies. Compare your results to those shown in the graph in the chapter notes.

  - 50 keV

  - 100 keV

  - 250 keV

  - 500 keV

  - 1 MeV

  - 2 MeV

- Sr-90 (T1/2 28.8 years, beta energy: average 196 keV, maximum 546 keV) decays to Y-90 (T1/2 64 hours, beta energy: average 933 keV, maximum 2.28 MeV). A sealed source of Sr-90 that is at least 3 months old is found in your laboratory. You need to design a polyethylene (average atomic number 5.3, density 1.4 g.cm3) container to hold the source.

  - How thick should the walls of this container be to completely shield the beta emissions from this source?

  - What fraction of the source’s Sr-90 beta emissions will appear as bremsstrahlung radiation?

  - What fraction of the source’s Y-90 beta emissions will appear as bremsstrahlung radiation?

- What thicknesses of lead and concrete are needed to reduce the gamma ray intensity for the following energies to 1% of their original values, assuming good geometry conditions? See the web site:

http://physics.nist.gov/PhysRefData/XrayMassCoef/cover.html

  - 100 keV

  - 500 keV

  - 1.0 MeV

  - 5.0 MeV

  - 20 MeV

- Calculate the final energy of a 1 MeV photon that undergoes two Compton scattering events:

  - Through a 40 and then a 75 angle.

  - Through a 75 and then a 40 angle.

- At what energy does the Compton edge occur for the 1.17 MeV photon emitted by Co-60?

- What thickness of cadmium is needed to reduce the intensity of an incident beam of thermal neutrons to 10% of its original level? Assume a thermal neutron cross section of 2520 barns, an atomic mass of 112.411 amu and a specific gravity of 8.65.

- A 250 mg S-32 target is to be irradiated in a reactor with a thermal neutron flux of 500 n/cm2-s. The cross section for the 32S(n,p)32P reaction is 540 mb (millibarns) for thermal neutrons. How much activity, in kBq and Ci, would be produced by this target if it were irradiated for 1 day (24 h)? 1 week? How much longer than one week would it be reasonable to try to irradiate the target to obtain more activity?